## E Fac
Room ID | Surface Mounted | Recessed | Emergency + Escape signs | Tel | Data | Public Addressable (PA) | CCTV | Access Control | Local Detection | Central System | Heat Detector | Beam Detector | Gas Detector | Smoke Detector | Aspiration Smoke | Manual Button & Alarm | Double socket outlet 230V | Industrial Socket Panel | Power Supply Panel 320A | UPS
AD.0101 |  | x
AD.0102 |  | x
AD.0103 |  | x
AD.0104 |  | x
AM.0101 |  | x
AM.0102 |  | x
AM.0103 |  | x
AM.0104 |  | x
FA.0101 | x
FA.0102 | x
FA.0103 | x
FA.0104 | x
FA.0105 | x
FA.0106 | x
FA.0107 | x
FA.0108 | x
FA.0109 | x
FA.0110 | x
FA.0111 | x
FA.0112 | x
FA.0113 | x
FA.0114 | x
FA.0115 | x
FA.0116 | x
FA.0117 | x
FA.0118 | x |  | x | x | x | x | x | x | [6 empty] | x | x | x | x
FA.0119 | x |  | x | x | x | x | x | x | [6 empty] | x | x | x | x
FA.0120 | x |  | x | x | x | x | x | x | [6 empty] | x | x | x | x
FA.0121 | x |  | x | x | x | x | x | x | [6 empty] | x | x | x | x
FA.0122 | x |  | x | x | x | x | x | x | [6 empty] | x | x | x | x
FA.0123 | x |  | x | x | x | x | x | x | [5 empty] | x | x | x | x | x
FA.0124 | x |  | x |  |  | x | [7 empty] | x | x | x | x | x
FA.0125 |  | x | x | x | x | x | [7 empty] | x | x | x | x
FA.0126 |  | x | x | x | x | x | [8 empty] | x | x | x
FA.0127 |  | x | x | x | x | x | [8 empty] | x | x | x
FA.0128 |  | x | x | x | x | x | [8 empty] | x | x | x
FA.0129 |  | x | x | x | x | x | [8 empty] | x | x | x
FA.0130 |  | x | x | x | x | x | [8 empty] | x | x | x
FF.0101 |  | x | x |  |  | x |  | x | [6 empty] | x | x | x
FF.0102 |  | x | x |  |  | x |  | x | [5 empty] | x |  | x | x
FF.0103 |  | x | x |  |  | x |  | x | [5 empty] | x |  | x | x
FF.0104 |  | x | x |  |  | x |  | x | [5 empty] | x |  | x | x
FF.0105 |  | x | x |  |  |  |  | x | [5 empty] | x |  | x
FF.0106 |  | x | x |  |  |  |  | x | [5 empty] | x |  | x
FF.0107 |  | x | x |  |  |  |  | x | [5 empty] | x |  | x
FF.0108 |  | x | x |  |  | x |  | x | [5 empty] | x |  | x | x
FF.0109 |  | x | x |  |  | x |  | x | [5 empty] | x |  | x | x
FF.0110 |  | x | x |  |  | x |  | x | [5 empty] | x |  | x | x
FF.0111 |  | x | x |  |  | x |  | x | [5 empty] | x |  | x | x
FF.0112 |  | x | x |  |  | x |  | x | [5 empty] | x |  | x | x
FF.0113 |  | x | x |  |  | x |  | x | [5 empty] | x |  | x | x
FF.0114 |  | x | x |  |  | x |  | x | [5 empty] | x |  | x | x
ID.0101 |  | x | x |  | x | x | [7 empty] | x |  | x | x
ID.0102 |  | x | x |  |  | x | [7 empty] | x |  | x | x
ID.0103 |  | x | x |  |  | x | [6 empty] | x |  |  | x | x
ID.0104 |  | x | x | x | x | x | [7 empty] | x |  | x | x
ID.0105 |  | x | x |  |  | x | [7 empty] | x |  | x | x
ID.0106 |  | x | x |  |  | x | [7 empty] | x |  | x | x
ID.0107 |  | x | x | [10 empty] | x |  | x | x
ID.0108 |  | x | x | [10 empty] | x |  | x | x
ID.0109 |  | x | x | [10 empty] | x |  | x | x
ID.0110 |  | x | x |  |  | x | [7 empty] | x |  | x | x
ID.0111 |  | x | x |  |  | x | x | [6 empty] | x |  | x | x
ME.0101 | x |  | x |  |  | x | [5 empty] | x |  |  |  | x | x
ME.0102 | x |  | x |  |  | x | [5 empty] | x |  |  |  | x | x
ME.0103 | x |  | x |  |  | x | [7 empty] | x |  | x | x
ME.0104 | x |  | x |  |  | x | [7 empty] | x |  | x | x
ME.0105 | x |  | x |  |  | x | [7 empty] | x |  | x | x
ME.0106 | x |  | x |  |  | x | [7 empty] | x |  | x | x
ME.0107 | x |  | x |  |  | x | [7 empty] | x |  | x | x
ME.0108 | x |  | x | [10 empty] | x |  | x | x
ME.0109 |  | x | x | x | x | x | x | [6 empty] | x |  | x | x |  |  | x
ME.0110 | x |  | x |  |  | x | [7 empty] | x |  | x | x
ME.0111 | x |  | x |  |  | x | [7 empty] | x |  | x | x
ME.0112 |  |  | x | [10 empty] | x |  | x
ME.0113 |  | x | x | x | x | x |  | x | [5 empty] | x |  | x | x |  |  | x
ME.0114 | x |  | x |  |  | x | [7 empty] | x |  |  | x
ME.0115 | x |  | x |  |  | x | [7 empty] | x |  |  | x
ME.0116 |  | x | x | [10 empty] | x |  | x | x
ME.0117 |  | x | x | [10 empty] | x |  | x | x
ME.0118 |  | x | x |  |  | x | [7 empty] | x |  | x | x
ST.0102 | x |  | x | [10 empty] | x |  | x
ST.0103 | x |  | x
ST.0104 | x |  | x
ST.0105 | x |  | x |  |  | x
ST.0106 | x |  | x |  |  | x
ST.0107 | x |  | x |  |  | x
ST.0108 | x |  | x |  |  | x
TE.0101 | x |  | x |  | x | x | [10 empty] | x | x | x
TE.0102 | x |  | x |  | x | x | x | x |  |  |  | x |  |  |  | x | x | x | x
TE.0103 |  | x | x | x | x | x | x |  |  |  |  | x |  |  |  | x | x
TE.0104 |  | x | x | x | x | x | x | x | [5 empty] | x |  | x | x |  |  | x
TE.0105 |  | x | x | x | x | x | [7 empty] | x |  | x | x
TE.0106 |  | x | x |  | x | x | x | [6 empty] | x |  | x | x
TE.0107 |  | x | x | [10 empty] | x |  | x | x
TE.0108 |  | x | x |  | x | x | x | [6 empty] | x |  | x | x
TE.0109 |  | x | x | x | x | x | x |  |  |  | x |  |  |  |  | x | x
TE.0110 |  | x | x | x | x | x | x | x | [5 empty] | x |  | x | x |  |  | x
TE.0111 |  | x | x | x | x | x |  | x | [5 empty] | x |  | x | x
TE.0112 |  | x | x | x | x | x | [7 empty] | x |  | x | x
TE.0113 |  | x | x |  | x | x | [7 empty] | x |  | x | x
TE.0114 |  | x | x |  |  | x | x | [6 empty] | x |  | x | x
TE.0115 |  | x | x |  |  | x | [9 empty] | x | x
TS.0101 | x |  | x |  |  | x | x | x | [5 empty] | x |  | x | x | x
TS.0102 | x |  | x |  |  | x | x | x | [5 empty] | x |  | x | x
TS.0103 | x |  | x |  |  | x | [7 empty] | x |  | x | x
TS.0104 | x |  | x |  |  | x | [9 empty] | x | x
TS.0105 | x |  | x |  |  | x | [7 empty] | x |  | x | x
TS.0106 | x |  | x |  |  | x | [7 empty] | x |  | x | x
WS.0101 | x |  | x | x | x | x | [7 empty] | x |  | x | x
WS.0102 | x |  | x | x | x | x | [7 empty] | x |  | x | x
WS.0103 |  | x | x | x | x | x | [7 empty] | x |  | x | x
|  |  | x | [10 empty] | x |  | x | x
AD.0201 |  | x | x |  |  | x | [7 empty] | x |  | x | x
AD.0202 |  | x | x | [10 empty] | x |  | x | x |  |  | x
AD.0203 |  | x | x | [10 empty] | x |  | x | x
ID.0201 |  | x | x | x | x | x | [7 empty] | x |  | x | x
ID.0202 |  | x | x | x | x | x | [10 empty] | x
ID.0203 |  | x | x |  |  | x | [10 empty] | x
ID.0204 |  | x | x | [13 empty] | x
ID.0205 |  | x | x |  |  | x | [10 empty] | x
ID.0206 |  | x | x | x | x | x | [10 empty] | x
ID.0207 |  | x | x |  |  | x | [10 empty] | x
ID.0208 |  | x | x | [13 empty] | x
ID.0209 |  | x | x | [13 empty] | x
ME.0201 |  | x | x | [13 empty] | x
ME.0202 |  | x | x |  |  | x | [10 empty] | x |  |  | x
ME.0203 | x |  | x |  |  | x
ME.0204 | x |  | x |  |  | x | [10 empty] | x
ST.0202 | x |  | x
ST.0203 | x |  | x
ST.0204 | x |  | x
ST.0205 | x |  | x
ST.0206 | x |  | x
x
ME.0205 | x |  | x |  | x | x | [10 empty] | x | x
x
ME.0206 | x |  | x | [13 empty] | x
ME.0207 | x |  | x | [13 empty] | x
ME.0208 | x |  | x | [13 empty] | x
x
ME.0301 | x |  | x |  | x | x | [10 empty] | x
ME.0302 | x |  | x |  |  | x | [10 empty] | x
ST.0302 | x |  | x |  |  | x
ST.0303 | x |  | x |  |  | x
ST.0304 | x |  | x |  |  | x